XEASY Most Used Commands

Spectrum Menu

New spectrum         [ns]

Replace spectrum     [rs]

Replace contour      [rc]

Alternative spectrum [as]

Zoom Spectrum Menu

Zoom one region  [zo]

Enlarge vertically   [ev]

Enlarge horizontally [eh]

Goto left        [gl]

Goto right       [gr]

Go up            [gu]

Go down          [gd]

Restore zoom     [rz]

Forward plane    [fp]

Backward plane   [bp]

Goto plane       [gp]

Contour plot     [cp]

Atom List Menu

Load sequence                 [ls]

Load atoms (chem. shift)      [lc]

Average chem. shift           [ac]

Change new chem. shift        [nc]

Switch fragment/map numbers   [sn]

Write sequence                [ws]

Write atoms (chem. shift)     [wc]

Apply to all ...    [aa]

Peak Analysis Menu

Load peaklist              [lp]

Write peaklist             [wp]

Delete peaks one by one    [dp]

Assign peaks in one region [ar]

Move peaks one by one      [mp]

Copy and move peaks        [cm]

Move reference peak        [mr]

In-phase peak picking      [in]

Editing peaks              [ed]

Display all peaks          [da]

Select peak                [sp]

Strips Menu

Strip sequence            [se]

Goto strips               [gs]

Erase strip list          [es]

Forward strips            [fs]

Backward strips           [bs]

Hold strip                [sh]

Release strip             [sr]

Define reference strips   [rd]

Define correlation        [cd]

Compare close strips      [pc]

Compare correlated strips [cc]

Forward comparison        [fc]

Backward comparison       [bc]

Integration Menu

Interactive integration param. [ip]

Interactive integration        [ii]